# ORCS Performance Metrics & Verification Framework

Compound Efficiency Gains, Implementation Timelines & Risk Assessment

Atlas Lattice Foundation | April 2026

# 1. Compound Efficiency Gains Across Modules

A critical insight from the nine-model convergence: modules compound multiplicatively on the remaining water budget. Each module operates on what previous modules have left, meaning the order of deployment matters and total gains exceed simple addition.

## 1.1 Stacking Example: Temperate Climate (Indiana)

| Step | Module | Reduction | Remaining Budget | Cumulative Savings |
| --- | --- | --- | --- | --- |
| Baseline | — | — | 100% | 0% |
| 1 | M2.1 Hybrid wet-dry | 50% | 50% | 50% |
| 2 | M2.3 Raised supply air temp | 5% of remaining | 47.5% | 52.5% |
| 3 | M3.1 Electrolytic scale (10x CoC) | 60% of blowdown | 43% | 57% |
| 4 | M4.2 Rainwater harvesting | Substitutes 12M gal | 35% | 65% |
| 5 | M1.1 Vapor recovery | 10% of evaporative | 31.5% | 68.5% |
| 6 | M4.1 Greywater integration | Substitutes remaining | 5–10% | 90–95% |
| 7 | M1.3 CEA thermal offtake | Flips ledger | Net positive | >100% |

This stacking sequence demonstrates how a facility can move from baseline to net-positive through incremental module deployment. The final step (M1.3) is the keystone that transforms the facility from a water consumer to a water contributor.

# 2. Core Metrics

## 2.1 Primary Metrics

| Metric | Definition | Target | Source |
| --- | --- | --- | --- |
| Watershed Days | Days/year facility is net water positive | +365 | ORCS Council |
| WUE (Water Usage Effectiveness) | Annual water use / IT equipment energy | <0.5 L/kWh | The Green Grid |
| Thermal Utilization Rate | % waste heat productively used | >60% | ORCS Council |
| Community Benefit Index | Composite of jobs, food, water, tax | >$15M/yr per 50MW | ORCS Council |
| Drought-Weighted Watershed Days | Watershed Days × drought severity | +500 (drought-adjusted) | Qwen3 contribution |
| Equity-Weighted Watershed Days | Watershed Days × social vulnerability | Context-dependent | Qwen3 contribution |
| Thermal Days | Days/year waste heat fully utilized | +300 | Qwen3 contribution |

## 2.2 Evidence Classification

| Classification | Definition | Citation Requirement |
| --- | --- | --- |
| Verified (Deployed) | Operating at commercial scale with published data | Peer-reviewed or operator-published |
| Derived (Pilot) | Demonstrated at pilot scale or adjacent industry | Technical report or conference paper |
| Proposed (Research-stage) | Theoretical or lab-demonstrated only | Must be flagged as speculative |

# 3. Implementation Timelines

| Phase | Duration | Key Activities | Success Criteria |
| --- | --- | --- | --- |
| Phase 0: Site Assessment | 3–6 months | Geological survey, regulatory scan, agricultural mapping | Site viability confirmed |
| Phase 1: Quick Wins | 6–12 months | M2.3, M3.7, M5.1, M5.2 (low capex, immediate impact) | 15–25% water reduction |
| Phase 2: Core Infrastructure | 12–24 months | M2.1, M2.4, M3.1, M4.2 (moderate capex) | 50–65% water reduction |
| Phase 3: Integration | 24–36 months | M1.3, M4.1, M6.3 (partnerships, thermal offtake) | Net-positive water status |
| Phase 4: Optimization | 36–48 months | M1.7, M4.4, M5.3 (advanced, site-specific) | Sustained +365 Watershed Days |

# 4. Resource Requirements

| Resource | Phase 1 | Phase 2 | Phase 3 | Phase 4 |
| --- | --- | --- | --- | --- |
| Capital investment | $0.5–1M | $5–15M | $10–25M | $5–10M |
| Engineering staff | 2–3 FTE | 8–12 FTE | 15–20 FTE | 5–8 FTE |
| Timeline | 6–12 months | 12–24 months | 24–36 months | 36–48 months |
| External partnerships | None | Equipment vendors | Agricultural co-ops, municipality | Research institutions |

# 5. Risk Assessment & Mitigation

| Risk | Probability | Impact | Mitigation |
| --- | --- | --- | --- |
| Regulatory delay on thermal sales | Medium | High | Pre-engage utility commission; use M6.3 Korean precedent |
| Agricultural partner withdrawal | Low | Medium | Diversify partners; maintain standalone cooling capability |
| Technology underperformance | Medium | Medium | Phase deployment; validate each module before next |
| Community opposition | Low-Medium | High | Early engagement; transparent Watershed Days reporting |
| Extreme drought exceeding design | Low | High | M4.7/M4.8 backup AWG; demand shifting (M2.9) |
| Policy shift (carbon/water credits) | Medium | Medium | Diversify value streams; don't depend on single incentive |
| Condensate quality issues | Medium | Low | M3.1/M3.2 treatment chain; continuous monitoring (M5.2) |

## 5.1 Regret-Proofing (Qwen3 Contribution)

Failure mode library with pre-planned fallback options: condensate system clogs (fallback to municipal supply), agricultural partner exits (redirect heat to district heating), policy shifts (maintain standalone economic case), extreme drought (activate atmospheric water generation backup).