# ORCS Complete Module Inventory

All 40+ Modules — Water Efficiency Stack Reference

Atlas Lattice Foundation | April 2026 | Nine-Model Convergence

# Category 1: Heat Rejection Strategies (M1.1–M1.8)

| ID | Module | Water Reduction | TRL | Timeline |
| --- | --- | --- | --- | --- |
| M1.1 | Source-Capture Vapor Recovery (Retrofit) | 5–15% | Deployed adjacent | 6–18 months |
| M1.2 | Source-Capture Vapor Recovery (Sealed Hall) | 15–30% | Research-stage | 24–36 months |
| M1.3 | Waste Heat Offtake to CEA | Net positive | Deployed | 12–36 months |
| M1.4 | Wastewater Thermal Siphon | 40–70% | Deployed | 18–30 months |
| M1.5 | Seawater Cooling (Titanium HX) | 80–95% | Deployed | New-build |
| M1.6 | Closed-Loop Lake/River HX | 70–90% | Deployed | 18–36 months |
| M1.7 | Aquifer Thermal Energy Storage | 60–85% | Deployed (small); research (hyperscale) | 24–48 months |
| M1.8 | Subsurface/Cave Siting | 30–60% | Deployed niche | New-build |

# Category 2: Cooling Architecture (M2.1–M2.9)

| ID | Module | Water Reduction | TRL | Timeline |
| --- | --- | --- | --- | --- |
| M2.1 | Hybrid Wet-Dry Cooling | 40–80% | Deployed | 12–24 months |
| M2.2 | Adiabatic Assist on Dry Coolers | 20–40% efficiency gain | Deployed | 3–12 months |
| M2.3 | Raised Supply Air Temperature | 3–6% per °C | Deployed | Immediate |
| M2.4 | Direct-to-Chip Liquid Cooling (Water) | 30–50% | Deployed | 12–24 months |
| M2.5 | Waterless DTC (Dielectric) | Same as M2.4 | Deployed | 12–24 months |
| M2.6 | PCM Thermal Storage | 15–30% peak | Deployed (district) | 12–24 months |
| M2.7 | Plant-Based Dielectric Immersion | Equivalent | Early deployed | 12–18 months |
| M2.8 | Closed-Loop Precision Liquid | Near-zero in hall | Deployed | 12–24 months |
| M2.9 | Demand Shifting (Workload) | 5–15% peak | Deployed | 6–12 months |

# Category 3: Water Treatment & Chemistry (M3.1–M3.7)

| ID | Module | Water Reduction | TRL | Timeline |
| --- | --- | --- | --- | --- |
| M3.1 | Electrolytic Scale Control | 50–75% blowdown | Deployed | 6–12 months |
| M3.2 | Pellet Reactor Softening | 30–50% blowdown | Deployed | 6–18 months |
| M3.3 | Mechanical Vapor Recompression | 60–85% brine recovery | Deployed (industrial) | 18–36 months |
| M3.4 | Forward Osmosis Blowdown Recovery | 50–80% recovery | Pilot deployed | 12–24 months |
| M3.5 | Semiconductor Stream-Segregation | 85–95% recycling | Deployed (fabs) | 24–48 months |
| M3.6 | Advanced Membrane Desalination | 70–95% recovery | Deployed | 12–24 months |
| M3.7 | Precision Humidity Control Zoning | 100% humidification | Deployed | 3–9 months |

# Category 4: Site Water Integration (M4.1–M4.8)

| ID | Module | Water Reduction | TRL | Timeline |
| --- | --- | --- | --- | --- |
| M4.1 | Greywater Integration (Municipal) | 100% potable sub | Deployed | 18–36 months |
| M4.2 | Rainwater Harvesting | 10–30% makeup | Deployed | 12–24 months |
| M4.3 | Adaptive Stormwater Capture | 5–20% supply | Emerging | 18–30 months |
| M4.4 | Monsoon Terraced Retention | 30–60% supply | Research-stage | 24–36 months |
| M4.5 | Constructed Wetland Polishing | Treatment + community | Deployed | 18–36 months |
| M4.6 | Building Condensate Cascade | 2–8% makeup | Deployed | 3–12 months |
| M4.7 | Atmospheric Water Generation | Backup only | Deployed niche | 12–18 months |
| M4.8 | Waste-Heat-Driven AWG | Better economics | Research-stage | 24–48 months |

# Category 5: Monitoring, Controls & Passive (M5.1–M5.5)

| ID | Module | Water Reduction | TRL | Timeline |
| --- | --- | --- | --- | --- |
| M5.1 | IoT Leak Detection | 1–5% loss reduction | Deployed | 6–12 months |
| M5.2 | Smart Coolant Health Monitoring | Prevents waste flushes | Deployed | 6–12 months |
| M5.3 | Radiative Sky Cooling Panels | 40–100 W/m² supplemental | Research-stage | 24–48 months |
| M5.4 | Radiative Cooling Envelope | 5–15% load reduction | Research-stage | 24–36 months |
| M5.5 | Qanat Earth Precooling | 15–25°C intake reduction | Research-stage | 36–60 months |

# Category 6: Siting & Governance (M6.1–M6.4)

| ID | Module | Water Reduction | TRL | Timeline |
| --- | --- | --- | --- | --- |
| M6.1 | High-Altitude / Cool-Climate Siting | 50–70% from climate | Deployed (policy) | Site selection |
| M6.2 | Governance-Level Siting Policy | Prevents conflict | Deployed (China) | Policy cycle |
| M6.3 | Municipal Reciprocity | Bidirectional closure | Deployed partial | 24–36 months |
| M6.4 | Community Water Credits | Incentive alignment | Emerging | 12–24 months |